INVITATION FOR SUBMISSION OF QUOTATION

(SMALL VALUE PROCUREMENT)

(RE-POSTING)

The Philippine Ports Authority, Port Management Office of Negros Occidental/Bacolod/Banago-Bredco, through its Bids and Awards Committee (BAC), invites suppliers/dealers to submit price quotation for each of the following item:

| Item No. | Description / Specification | Qty. | Unit | Approved Budget for the Contract * |
| --- | --- | --- | --- | --- |
| 1) | SUPPLY, DELIVERY, INSTALLATION AND COMMISSIONING OF THE FOLLOWING OFFICE APPLIANCES AIR-CONDITIONING UNIT ( 5 Tonner) Floor-Mounted (Non-Inverter) Cooling : 60,000 Btu/h Power Consumption : 5,800 W Running Current : 17.5 / 20Amp Air Flow :2,700/ 1,589 EER : 10.3 Btu/h or higher Voltage, Frequency, Phase: 208-230V, 60hz, 3Ph Indoor Weight : 610x385x1,877 More or Less Outdoor Weight : 810 x 810 x727 More or Less Warranty on Parts & Services-1 year Outdoor Unit : Vertical Blast Salt Resistant or Heavy Duty Copper tubing maximum of 30 ft. | 1 | Unit |  |

| 2) | HEAVY DUTY VACUUM CLEANER with ACCESSORIES Power Input : 1,400 W Tank Size : 30.3L or higher Hose/Cord Length : 5/25mm Weight : 10kg Standard dust extractor with high resistant container & 4 pivoting wheels for great ease of transport. Innovative dual filter cleaning system Constant suction power with automatic filter cleaning Wet and dry pick up Automatic start and stop control | 1 | Unit |  |
| --- | --- | --- | --- | --- |

*Inclusive of 12% VAT

- Delivery Period				:	Within Ten (10) calendar days from receipt of

Purchase Order (PO)

- Approved Budget for the Contract (ABC):	P 175,000.00

- Deadline for Submission of RFQ		:	October 21, 2019 (Monday) - 10:00AM

- Opening of Sealed Canvass		:	October 21, 2019 (Monday) – 11:00AM

Procurement will be conducted in consonance with Section 53.9 (Small Value Procurement) of the Revised Implementing Rules and Regulations Part A (IRR-A) of the Republic Act 9184, otherwise known as the “Government Procurement Reform Act”. Only sealed bids/canvass from eligible supplier/s will be opened and a Purchase Order will only be awarded to the Lowest Calculated and Responsive Bidder for each specific item who is determined as such during post-qualification.

Request for Quotation must be submitted in a sealed envelope together with the following documents:

- Certified true copy of Valid & Current Mayor’s Permit

- Certified true copy of Valid PhilGeps Registration

- Certified true copy of Latest Income/Business Tax Return, and

- Notarized Omnibus Sworn Statement.

The sealed envelope shall be addressed to

ENGR. RICHIE A VILLASANA

Chairperson, Bids and Awards Committee

Philippine Ports Authority, PMO – NBB

Banago Port, Brgy. Banago, Bacolod City

Interested bidders may obtain further information regarding RFQ Form from Zedric B. Turtogo or Mona Liza G. Villaran, BAC Secretariat at Banago Port, Brgy. Banago, Bacolod City during regular office hours. For further information, please refer to   Tel #: (034)441-1225/  441-1041/ 441-3124.

(SGD)

RICHIE A. VILLASANA

Chairperson, Bids and Awards Committee